## Preventative Maintenance Checklist For Churches

1. A regular schedule for changing Air Conditioner/Furnace filters has been established per manufacturer’s recommendation. (quarterly)

_____ Completed _____ In Progress _____ Not planned

2. A regular schedule and/or a preventive maintenance contract has been established for the air conditioner and heating. This should include an inspection of the centralized control software or other temperature control devices (quarterly)

_____ Completed _____ In Progress _____ Not planned

3. Per local codes, boiler/chiller maintenance and repair are scheduled. (quarterly)

_____ Completed _____ In Progress _____ Not planned

4. Electrical outlets in public spaces, especially Children’s Services, are child-proofed. (ongoing)

_____ Completed _____ In Progress _____ Not planned

5. A schedule is developed to replace batteries in devices using batteries as their primary power supply (i.e. rest room sensors, paper product dispensers, etc) (ongoing – depends on life expectancy)

_____ Completed _____ In Progress _____ Not planned

6. Domestic Water heater is inspected and drained per manufacturer recommendations (annually)

_____ Completed _____ In Progress _____ Not planned

7. A regular schedule of maintenance is determined for drinking fountains to address functional issues such as chemical build-up. (quarterly)

_____ Completed _____ In Progress _____ Not planned

8. Elevators and other lifting devices are inspected regularly, per manufacturer instructions and local code, and a preventive maintenance contract is established.

_____ Completed _____ In Progress _____ Not planned

9. Fire Extinguishers are placed per local fire codes and a regular inspection schedule is established to ensure proper operation. (annually)

_____ Completed _____ In Progress _____ Not planned

10. A regular schedule is established to maintain the floor covering (carpets, tile, wood, floor mats, Etc.) (ongoing)

_____ Completed _____ In Progress _____ Not planned

11. Replacement bulbs and any equipment necessary to replace light bulbs is on-hand. (ongoing)

_____ Completed _____ In Progress _____ Not planned

12. Replacement bulbs and any equipment necessary to replace outdoor lighting is either on-hand or the source is established. (ongoing)

_____ Completed _____ In Progress _____ Not planned

13. Contracts for regular maintenance and/or materials and equipment are established for maintenance of grounds, including lawn, flowers, shrubs, trees, flag poles, yard irrigation, etc. (ongoing)

_____ Completed _____ In Progress _____ Not planned

14. Contracts and/or equipment and materials are established to maintain parking and sidewalks (as needed)

_____ Completed _____ In Progress _____ Not planned

16. A plan for painting of parking lot stripes is established (as needed)

_____ Completed _____ In Progress _____ Not planned

17. Materials and equipment is on-hand or contracted for maintenance of restroom fixtures, including seals, valves, etc. Fixtures inspected for leaks or other defects. (semi-annual)

_____ Completed _____ In Progress _____ Not planned

19. Inspect, clean and maintain smoke alarms and carbon monoxide detectors, including battery replacement if necessary. (quarterly)

_____ Completed _____ In Progress _____ Not planned

20. Materials procured and procedures for snow and ice removal are established.

_____ Completed _____ In Progress _____ Not planned

21. A plan for regular maintenance of interior and exterior trash receptacles as well as recycling receptacles is established. (ongoing)

_____ Completed _____ In Progress _____ Not planned

22. Vendors and sources are established for repair and/or replacement of windows, doors and associated hardware (annually)

_____ Completed _____ In Progress _____ Not planned

23. Termite and other pests inspection and treatment. (monthly or as recommended by vendor)

_____ Completed _____ In Progress _____ Not planned

24. Visual inspection of roof, mortar and foundation by a professional. (annually)

_____ Completed _____ In Progress _____ Not planned

25. A regular cleaning maintenance schedule is established including daily, weekly, monthly and other routine tasks. (ongoing)

_____ Completed _____ In Progress _____ Not planned

26. Emergency and exit lighting is in place and tested to ensure proper operation and functional battery backup. (semi annually)

_____ Completed _____ In Progress _____ Not planned

27. The facility is compliant with all electrical codes as determined by a professional (annually)

_____ Completed _____ In Progress _____ Not planned

28. A regular schedule of painting interior and exterior building components and wooden structures (ongoing and as needed)

_____ Completed _____ In Progress _____ Not planned

29. A regular schedule of pressure washing exterior of buildings and wooden structures (annually)

_____ Completed _____ In Progress _____ Not planned

30. A regular schedule to inspect backflow preventer(s) (annually)

_____ Completed _____ In Progress _____ Not planned

31. Fire Alarm and Sprinkler Systems are inspected regularly, per manufacturer instructions and local code, and a preventive maintenance contract established.

_____ Completed _____ In Progress _____ Not planned

32. Kitchen exhaust hoods should be tested regularly, per manufacturer instructions and local code, and a preventive maintenance contract established

_____ Completed _____ In Progress _____ Not planned

33. Grease interceptors/traps should be inspected regularly, per manufacturer instructions and local code, and a preventive maintenance contract established.

_____ Completed _____ In Progress _____ Not planned

34. Inspect and update First Aid and AED components (quarterly)

_____ Completed _____ In Progress _____ Not planned

35. Drain and test baptismal font, including the heater and any auto-fill mechanisms (semi-annually)

_____ Completed _____ In Progress _____ Not planned

36. Inspect and adjust playground equipment (quarterly)

_____ Completed _____ In Progress _____ Not planned

37. Perform flow and pressure tests on private fire hydrants (semi-annually)

_____ Completed _____ In Progress _____ Not planned

38. Clean gutters and downspouts (spring, early fall and early winter as a minimum/ongoing)

_____ Completed _____ In Progress _____ Not planned

39. Inspect, test, lubricate any pumps including but not limited to sump pump, water pumps, lift stations, circulation pumps, compressors, etc. (quarterly)

_____ Completed _____ In Progress _____ Not planned

40. Have all building appendages and towers such as steeples and cupolas cleaned and inspected (annually)

_____ Completed _____ In Progress _____ Not planned

41. Test and run diagnostics on CCTV cameras, monitors and software (quarterly or as recommended by manufacturer)

_____ Completed _____ In Progress _____ Not planned

NOTE: This is not intended to be a comprehensive list, but rather provide a starting point for the development of a preventative maintenance program for your church's facility. As you walk the grounds, add items that are applicable to your facility.